Magic TROFFER

by

LED Troffer

Advantage

•    Quick Installation for each retrofit kit which only takes five minutes.

•    0-10V dimmable function help to reduce operation cost.

•     135 lumens per watt help to reduce payback period of energy saving.

•     100000 hours working time and years warranty.

E358903

Common Technical  Data

Color Tern  erature                        2700K to 5000K Beam Angle                                   120 degree

Magic Troffer          2x2'       2x4'

l

Frequency                                            50-60Hz

Color   Consistenc                              4  ste    s                                                                       flower  Factor                                        More   than    0.99

| CRI |  | More than | 80 | Rated Life | 7 years hours |
| --- | --- | --- | --- | --- | --- |
| Operation | Temperature | -30-40C |  | Led T~ e | SMT 2835 |
| Efficiency | with ballast | More than | 135 LPW | Housing | Aluminum+PC |
| L, cUL | and FCC certified |  |  |  |  |

Ordering Guide

~~~~ZY~~~---'~~~R_4_IR_7~~~-'~~-2_5_W_l3_6_w_,_5o_w~    ,/...._~~~X-N_Z_IX_D_Z~~~--'

Company  Code

Size

Wattage

Non  Dimmable/  Dimmable

Warranty

This product has a warranty of period  of 7 years from the date of purchase.  The  warranty   is  invalid   in  the  case  of  improper   use  installation,  tampering,  and removal of the Q.C.  date label, installation in an improper  working  environment  or installation  not according  to the current  edition of the National  Electric  Code.  Should this product fail during the warranty   period it will be replaced free of charge, subject to correct  installation  and return  of the faulty  unit. ALG does   not accept responsibility for any installation costs associated with the replacement of this product. This warranty is in addition   to the statutory   rights in your country  of purchase.   ALG reserves the right to alter specifications without prior notice.

Product Specification

| Product Number | Wattage | Color | Voltage | Lu mens | Working Hours | CRI |
| --- | --- | --- | --- | --- | --- | --- |

2x2 Troffer Retrofit Kit Door

| ZY-T4-25W XNZ | 25 | 3000K | AC 100-277V or AC 1 00-382V | 3300 | 7 years | 80 |
| --- | --- | --- | --- | --- | --- | --- |
| ZY-T4-25W XNZ | 25 | 3500K | AC 100-277V or AC 1 00-382V | 3300 | 7 years | 80 |
| ZY-T4-25W XNZ | 25 | 4000K | AC 100-277V or AC 1 00-382V | 3300 | 7 years | 80 |
| ZY-T4-25W XNZ | 25 | 5000K | AC 100-277V or AC 1 00-382V | 3300 | 7 years | 80 |
| ZY-T4-25W XDZ | 25 | 3000K | AC 100-277V or AC 1 00-382V | 3300 | 7 years | 80 |
| ZY-T4-25W XDZ | 25 | 3500K | AC 100-277V or AC 1 00-382V | 3300 | 7 years | 80 |
| ZY-T4-25W XDZ | 25 | 4000K | AC 100-277V or AC 1 00-382V | 3300 | 7 years | 80 |
| ZY-T4-25W XDZ | 25 | 5000K | AC 100-277V or AC 1 00-382V | 3300 | 7 years | 80 |
| ZY-T4-36W XNZ | 36 | 3000K | AC 100-277V or AC 1 00-382V | 5000 | 7 years | 80 |
| ZY-T4-36W XNZ | 36 | 3500K | AC 100-277V or AC 1 00-382V | 5000 | 7 years | 80 |
| ZY-T4-36W XNZ | 36 | 4000K | AC 100-277V or AC 1 00-382V | 5000 | 7 years | 80 |
| ZY-T4-36W XNZ | 36 | 5000K | AC 100-277V or AC 1 00-382V | 5000 | 7 years | 80 |
| ZY-T4-36W XDZ | 36 | 3000K | AC 100-277V or AC 1 00-382V | 5000 | 7 years | 80 |
| ZY-T4-36W XDZ | 36 | 3500K | AC 100-277V or AC 1 00-382V | 5000 | 7 years | 80 |
| ZY-T4-36W XDZ | 36 | 4000K | AC 100-277V or AC 1 00-382V | 5000 | 7 years | 80 |
| ZY-T4-36W XDZ | 36 | 5000K | AC 100-277V or AC 1 00-382V | 5000 | 7 years | 80 |

2x4 Troffer Retrofit Kit Door

| ZY-T7-36W XNZ | 36 | 3000K | AC 100-277V or AC 1 00-382V | 5000 | 7 years | 80 |
| --- | --- | --- | --- | --- | --- | --- |
| ZY-T7-36W XNZ | 36 | 3500K | AC 100-277V or AC 1 00-382V | 5000 | 7 years | 80 |
| ZY-T7-36W XNZ | 36 | 4000K | AC 100-277V or AC 1 00-382V | 5000 | 7 years | 80 |
| ZY-T7-36W XNZ | 36 | 5000K | AC 100-277V or AC 1 00-382V | 5000 | 7 years | 80 |
| ZY-T7-36W XDZ | 36 | 3000K | AC 100-277V or AC 1 00-382V | 5000 | 7 years | 80 |
| ZY-T7-36W XDZ | 36 | 3500K | AC 100-277V or AC 1 00-382V | 5000 | 7 years | 80 |
| ZY-T7-36W XDZ | 36 | 4000K | AC 100-277V or AC 1 00-382V | 5000 | 7 years | 80 |
| ZY-T7-36W XDZ | 36 | 5000K | AC 100-277V or AC 1 00-382V | 5000 | 7 years | 80 |
| ZY-T7-50W XNZ | 50 | 3000K | AC 100-277V or AC 1 00-382V | 6880 | 7 years | 80 |
| ZY-T7-50W XNZ | 50 | 3500K | AC 100-277V or AC 1 00-382V | 6900 | 7 years | 80 |
| ZY-T7-50W XNZ | 50 | 4000K | AC 100-277V or AC 1 00-382V | 7000 | 7 years | 80 |
| ZY-T7-50W XNZ | 50 | 5000K | AC 100-277V or AC 1 00-382V | 7000 | 7 years | 80 |
| ZY-T7-50W XDZ | 50 | 3000K | AC 100-277V or AC 1 00-382V | 6880 | 7 years | 80 |
| ZY-T7-50W XDZ | 50 | 3500K | AC 100-277V or AC 1 00-382V | 6900 | 7 years | 80 |
| ZY-T7-50W XDZ | 50 | 4000K | AC 100-277V or AC 1 00-382V | 7000 | 7 years | 80 |
| ZY-T7-50W XDZ | 50 | 5000K | AC 100-277V or AC 1 00-382V | 7000 | 7 years | 80 |