LUXURY INCLUSIONS

# External Feature

External Wall Constructions

Smooth Cement rendered block construction

Metal Roofing

Colorbond custom orb roofing from the standard colorbond range.

Fascia & Gutter

Colorbond fascia and gutter from the standard colorbond range

Windows

Powdercoat Aluminium windows and doors with grey glass

Window Screens

Flyscreens to all aluminium windows and security grill to sliding glass doors and garage external access door (where applicable)

Entrance Doors

Selection of Humr Doors from the Living Homes Luxury Range

Entrance Door Furniture

Gainsborough Trilock or Gainsborough G4 Series 450mm Oblong Pull Handle Entrance Set

External Cladding

Lightweight cladding to outer walls where indicated (refer design plans)

Driveway

Exposed Aggregate driveway as shown on design plans

Clothesline

Paraline wall hung clothesline

Exposed Aggregate Drying Court as per design plans

Mailbox

Choice of Mailbox from Living Homes LuxuryRange

# Site-Specific Costs

Site Survey

Soil Testing, Wind Classification and Contour Plan

Site Levels

Site Cut/Fill, maximum 400mm cut and 400mm fill

Sanitary Services

Storm Water, Sewer, and water connections as per Mackay Regional Council Requirements

Utility Connections

Power connections to Ergon requirements and NBN Lead in Cabling

# Kitchen

Oven

Bosch Multifunction Stainless Steel Oven

Cooktop

Bosch 60cm Ceramic Cooktop

Rangehood

Bosch 60cm slide-out rangehood or Bosch 90cm canopy

Sink

Raymor Essential 1 ¾ Bowl Sink

Sink Mixer

Lava Sink mixer

Dishwasher

Bosch Freestanding stainless look Dishwasher

Splashback

Ceramic Tiles above all benchtop surfaces up to the top cupboard height

Cabinetry

Laminex Finish with the inclusion of 2 x Pot Draws and 1 x bank of cutlery draws.

Laminated Top cupboards (refer to design plans)

Benchtops

Choice of Square Edge or Bullnose Laminated Benchtops

# Floor Coverings

Living Area Flooring

Ceramic Tile floor as indicated on plan from the Beaumont Tiles Silver Range

Carpet

Carpet as indicated on design plans from the Living Homes Luxury Range

# Tiling

Floor and Wall Tiles

Ceramic Floor tiles to wet areas as indicated on design plans from the Beaumont Tiles Silver Range

Ceramic Wall tiles to wet areas as indicated on design plans from the Beaumont Tiles Silver Range (Kitchen, Laundry and Vanity Splashbacks: Shower Cubicles and Bath)

Skirting Tiles to all Wet areas

# Bathrooms, Ensuite and WC

Vanity Unit

Laminated Finish with Laminated Square Edge or Bullnose Benchtop.

One Bank of Draws

Vanity Basin

amethyst countertop basin

Basin Mixer

Lava basin mixer

Bath

Recline Bathtub 1650mm

Aruba Freestanding Bathtub (Plan Specific)

Bath Mixer

Alpha bath mixer

Alpha Bath Spout

Shower Mixer

Alpha Shower Mixer

Shower Head

Shay Rail adjustable handheld shower

Shower Base

Tiled as per design plans

Shower Screen

Clear laminated pivot screen (Plan Specific)

Hollywood walk-in shower (Plan specific)

Toilet

Prima II close coupled suite

Towel Rail Holder

Radii Double Towel Rail

Toilet Roll Holder

Radii Toilet roll holder

# Laundry

Laundry Tub and cupboard

Laminated Finish with Square edge or Bullnose Benchtop

Essential45L drop-in stainless tub

Laundry Mixer

Lava Sink mixer

Washing Machine Taps

Taps installed inside of laundry cupboard

Splashback

600mm high splashback above benchtop and washing machine space from the Beaumont Tiles Silver Range

# Garage

Garage Doors

Colorbond panel lift door with two remotes from standard Colour Range

External Access Doors

Solid Core External Door (Plan specific)

# Internal Features

Ceiling Heights

2400mm

Wall Linings

Plasterboard to wall linings and ceilings

Villaboard to Bathrooms and Ensuite

Cornice

90mm Cove cornice

Internal Doors

Humes Accent series 2040mm high door

Door Furniture

Gainsborough G4 Series

Architraves

42mm x 12mm (selection available)

Skirting

68 x 12mm (Selection Available)

Windows Reveals

FJP Pine reveals to full perimeter of window

# Paintwork

External

One colour to soffits and one colour to wall gloss acrylic plus one feature colour

Internal Walls

Low sheen acrylic (3 coat system)

Internal Ceilings

Ceiling Paint ( 3 coat system)

Internal Woodwork and Doors

Semi-Gloss Finish to doors, architraves and skirtings

# Insulation

Roof Insulation

60mm Anticon Roof Blanket

# Hot Water System

Rheem 250 Litre

# Storage Cupboards

Robes

Aluminium Sliding Mirrored doors with white melamine shelf and hanging rail

2 x open shelf unit to Main Bedroom and 1 x open shelf unit to other bedrooms

Linen/Storage

Aluminium Sliding Vinyl Doors with white melamine four-shelf system

Broom

Single white melamine shelf

# Electrical

(refer individual design plan with the consultant)

Light Points

LED downlights

PowerPoints

Clipsal Classic series double power points (white) throughout)

Clipsal classic series single power pints to Fridge/rangehood/microwave/Garage Door

Smoke Alarms

Hardwired smoke alarms to comply with QLD smoke alarm legislation

TV Point

Tv points located in living rooms/theatres/Master Bedrooms

TV Antennae

Digital compliant tv antennae

NBN

Distribution cabinet all internal data cables to terminate this point

Safety Switches

Safety switches to meter box to comply with current QLD Electrical legislation

# Engineering

Wind Rating

C2 Wind Category (AS2870)

Concrete Slab

Engineer designed concrete slab to meet M Class foundation type(AS2870)

Framing

Timber and concrete block framing as per design plans and engineer specifications

Roof Trusses

Designed to Manufacturers specifications

# TERMITE PROTECTION

Framing

LOSP treated timber framing and roof trusses

Mouldings

LOSP treated architraves/skirtings and door reveals

Slab

Penetration collars

# Preliminaries

Consulting Engineer

Building Design Plans

Surveyor Setout of Building

Construction Works Insurance

Colour consultancy

QBCC Home owners warranty insurance

Building and Plumbing application fees

6-star minimum energy rating