SIGNATURE INCLUSIONS

# External Feature

External Wall Constructions

Smooth Cement rendered block construction

Metal Roofing

Colorbond custom orb roofing from the standard colorbond range.

Fascia & Gutter

Colorbond fascia and gutter from the standard colorbond range

Windows

Powdercoat Aluminium windows and doors

Window Screens

Flyscreens to all aluminium windows and doors

Entrance Doors

Selection of Hume Doors from the Living Homes Signature Range

Entrance Door Furniture

Gainsborough Trilock or Gainsborough G4 Series 450mm Oblong Pull Handle Entrance Set

External Cladding

Lightweight cladding to outer walls where indicated (refer design plans)

Driveway

Exposed Aggregate driveway as shown on design plans

Patio

Exposed Aggregate to the fascia line as indicated on design plans

Clothesline

Paraline wall hung clothesline

Exposed Aggregate Drying Court as per design plans

Mailbox

Choice of Mailbox from Living Homes Signature Range

# Site-Specific Costs

Site Survey

Soil Testing, Wind Classification and Contour Plan

Site Levels

Site Cut/Fill, maximum of 400mm and 400mm fill

Sanitary Services

Storm Water, Sewer, and water connections as per Mackay Regional Council Requirements

Utility Connections

Power connections to Ergon requirements and NBN Lead in Cabling

# Kitchen

Oven

Bosch Multifunction Stainless Steel Oven

Cooktop

Bosch 60cm Ceramic Cooktop

Rangehood

Bosch 60cm slide-out rangehood

Sink

Raymor Essential 1 ¾ Bowl Sink

Sink Mixer

Raymor Projix Pin Lever

Dishwasher

Bosch Freestanding stainless look Dishwasher

Splashback

Ceramic Tiles above all benchtop surfaces up to the top cupboard height

Cabinetry

Laminex Finish with the inclusion of 2 x Pot Draws and 1 x bank of cutlery draws.

Laminated Top cupboards (refer to design plans)

Benchtops

Choice of Square Edge or Bullnose Laminated Benchtops

# Floor Coverings

Vinyl Plank

Vinyl Plank Flooring as indicated on design plans from Living Homes Signature Range

Carpet

Carpet as indicated on design plans from the Living Homes Signature Range

# Tiling

Floor and Wall Tiles

Ceramic Floor tiles to wet areas as indicated on design plans from the Beaumont Tiles Silver Range

Ceramic Wall tiles to wet areas as indicated on design plans from the Beaumont Tiles Silver Range (Kitchen, Laundry and Vanity Splashbacks: Shower Cubicles and Bath)

Skirting Tiles to all Wet areas

# Bathrooms, Ensuite and WC

Vanity Unit

Laminated Finish with Laminated Square Edge or Bullnose Benchtop

One bank of draws

Vanity Basin

Raymor Lawson Drop-In

Basin Mixer

Raymor Projix Pin Lever

Bath

Recline Bathtub 1650mm

Aruba Freestanding Bathtub (Plan Specific)

Bath Mixer

Raymor Projix Pin Level

Raymor Hay Bath Spout

Shower Mixer

Raymor Projix Pin Lever

Shower Head

Raymor Amada 3 Function

Shower Base

Tiled as per design plans

Shower Screen

Clear laminated pivot screen (Plan Specific)

Hollywood walk-in shower (Plan specific)

Toilet

Classic Toilet suite

Towel Rail Holder

Raymor Projix Double Towel Rail

Toilet Roll Holder

Raymor Projix Toilet roll holder

# Laundry

Laundry Tub

Java laundry tub and cabinet

Laundry Mixer

Raymor Projix Pin Lever

Washing Machine Taps

Taps installed inside of laundry cupboard

Splashback

600mm high splashback above benchtop and washing machine space from Beaumont Tiles Silver Range

# Garage

Garage Doors

Colorbond panel lift door with two remotes from standard Colour Range

External Access Doors

Solid Core External Door (Plan specific)

# Internal Features

Ceiling Heights

2400mm

Wall Linings

Plasterboard to wall linings and ceilings

Villaboard to Bathrooms and Ensuite

Cornice

90mm Cove cornice

Internal Doors

Hume Flush Panel 2040mm high door

Door Furniture

Gainsborough G4 Series

Architraves

42mm x 12mm (selection available)

Skirting

68 x 12mm (Selection Available)

Windows Reveals

FJP Pine reveals

# Paintwork

External

One colour to soffits and one colour to wall gloss acrylic plus one feature colour

Internal Walls

Low sheen acrylic (3 coat system)

Internal Ceilings

Ceiling Paint ( 3 coat system)

Internal Woodwork and Doors

Semi-Gloss Finish to doors, architraves and skirtings

# Insulation

Roof Insulation

60mm Anticon Roof Blanket

# Hot Water System

Rheem 250 Litre

# Storage Cupboards

Robes

Aluminium Sliding Mirrored/Vinyl doors with closet Maid shelf and hanging rail

Linen/Storage

Aluminium Sliding Vinyl Doors with Closet Maid four-shelf system

Broom

Single Closet Maid shelf

# Electrical

(refer individual design plan with the consultant)

Light Points

LED downlights

PowerPoints

Clipsal Classic series double power points (white) throughout)

Clipsal classic series single power pints to Fridge/rangehood/microwave/Garage Door

Smoke Alarms

Hardwired smoke alarms to comply with QLD smoke alarm legislation

TV Point

Tv points located in living rooms/theatres/Master Bedrooms

TV Antennae

Digital compliant tv antennae

NBN

Distribution cabinet all internal data cables to terminate this point

Safety Switches

Safety switches to meter box to comply with current QLD Electrical legislation

# Engineering

Wind Rating

C2 Wind Category (AS2870)

Concrete Slab

Engineer designed concrete slab to meet M Class foundation type(AS2870)

Framing

Timber and concrete block framing as per design plans and engineer specifications

Roof Trusses

Designed to Manufacturers specifications

# TERMITE PROTECTION

Framing

LOSP treated timber framing and roof trusses

Mouldings

LOSP treated architraves/skirtings and door reveals

Slab

Slab with penetration collars

# Preliminaries

Consulting Engineer

Building Design Plans

Surveyor Setout of Building

Construction Works Insurance

Colour consultancy

QBCC Home owners warranty insurance

Building and Plumbing application fees

6-star minimum energy rating