Technical Specifications

Model TY-08Camera

Camera

Resolution:	 		2 million pixels

Type:	 			Binocular wide-dynamic camera

Aperture: 			F2.4

Focusing distance: 		50-150cm

White balance: 		auto

Photo flood light: 		LED and IR dual photo flood light

Screen

Screen

Size: 				8.0 inch IPS LCD screen

Resolution: 			800×1280

Processor

Function

Face Detection: 			YES

Face library: 				YES= (30,000)

Staff Identification 			YES

Stranger Identification 		YES

Blacklisted Identification		YES

Attendance Record			YES

Temperature Alarm			YES

UI interface configuration: 		YES

Upgrade remotely: 			YES

Interface: 				Interfaces include device management, personnel /

photo management, record query, etc.

Deployment method: 			Support public cloud deployment, privatized

deployment, LAN use, stand-alone use

Processor

CPU: 				RK3288 quad-core

Storage: 			EMMC 8G

Interface

Interface

Network module: 		Ethernet and wireless (WIFI)

Audio: 				2.5W / 4R speakers

USB: 				1 USB OTG, 1 USB HOST standard A port

Serial communication: 	1 RS232 serial port

Relay output: 			1 door open signal output

Wiegand One Wiegand: 	26/34 output, one Wiegand 26/34 input

Upgrade button: 		Support Uboot upgrade button

Wired network: 		1 RJ45 Ethernet socket

Function

Infrared Imaging Thermal Module

Temperature detection distance:	1 meter (optimal distance 0.5 meter)

Temperature: 				±0.5℃ measurement accuracy

Temperature measurement range:	10℃~42℃

Pixels:					 32 X 32 dots (total 1024 pixels)