NEW

| Semi flex Endoscopes |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Endoch developed an advanced optical system that is less sensitive to bending; Accordingly, the endoscope-tube can be bent multiple times without any damage as with regular rigid endoscopes. Though less sensitive to bending, the excellent image quality of an optical lens system is preserved.. |
| Arthroscope semiflex ¦ wide angle ¦ HD |  |  |  |  |  |  |
| Autoclavable |  |  |  |  |  |  |
| diameter / length. 2.7 / 110.0; AS-2700.110FA; AS-2730.110FA. 2.7 / 175.0; AS-2700.175FA; AS-2730.175FA. 2.7 / 187.5; AS-2700.187FA; AS-2730.187FA. |  |  |  |  |  |  |
| Arthroscope semiflex 2.0 ¦ wide angle ¦ HD |  |  |  |  |  |  |
| Autoclavable |  |  |  |  |  |  |
| diameter / length. 4.0 / 142.0; AS-4030.142FA. 4.0 / 175.0; AS-4000.175FA; AS-4030.175.FA; AS-4045.175FA; AS-4070.175FA. |  |  |  |  |  |  |
| Sinuscope semiflex ¦ wide angle ¦ HD |  |  |  |  |  |  |
| Autoclavable |  |  |  |  |  |  |
| diameter / length. 2.7 / 110.0; AS-2700.110FA; AS-2730.110FA. 2.7 / 175.0; AS-2700.175FA; AS-2730.175FA. 2.7 / 187.5; AS-2700.187FA; AS-2730.187FA. |  |  |  |  |  |  |
| Sinuscope semiflex 2.0 ¦ wide angle ¦ HD |  |  |  |  |  |  |
| Autoclavable |  |  |  |  |  |  |
| diameter / length. 4.0 / 175.0; AS-4000.175FA; AS-4030.175FA; AS-4045.175FA; AS-4070.175FA. |  |  |  |  |  |  |
| Hysteroscope semiflex ¦ HD |  |  |  |  |  |  |
| Autoclavable |  |  |  |  |  |  |
| diameter / length. 2.7 / 302.0; AS-2700.302FA; AS-2712.302FA; AS-2730.302FA. |  |  |  |  |  |  |
| Hysteroscope semiflex 2.0 ¦ HD |  |  |  |  |  |  |
| Autoclavable |  |  |  |  |  |  |
| diameter / length. 4.0 / 302.0; AS-4000.302FA; AS-4012.302FA; AS-4030.302FA; AS-4070.302FA. |  |  |  |  |  |  |
| Cystoscope semiflex ¦ HD |  |  |  |  |  |  |
| Autoclavable |  |  |  |  |  |  |
| diameter / length. 2.7 / 302.0; AS-2700.302FA; AS-2712.302FA; AS-2730.302FA. |  |  |  |  |  |  |
| Cystoscope semiflex 2.0 ¦ HD |  |  |  |  |  |  |
| Autoclavable |  |  |  |  |  |  |
| diameter / length. 4.0 / 302.0; AS-4000.302FA; AS-4012.302FA; AS-4030.302FA; AS-4070.302FA. |  |  |  |  |  |  |