**GENERATOR PRE START CHECK LIST**

|  |  |  |
| --- | --- | --- |
| **DESCRIPTION** | **CHECK** | **COMMENTS** |
| LUBRICATION SYSTEM |  |  |
| Oil condition |  |  |
| Oil level |  |  |
| Oil leaks |  |  |
| FUEL SYSTEM |  |  |
| Fuel level |  |  |
| Fuel leaks |  |  |
| COOLING SYSTEM |  |  |
| Radial water level |  |  |
| Reserve water level |  |  |
| Belt condition/tension |  |  |
| Hose clamps |  |  |
| ELECTRICAL CABLE CONDITION |  |  |
| Connections |  |  |
| Frays/chips |  |  |
| FIRE EXTINGUISHER IN PLACE |  |  |
| FIRE EXTINGUISHER IN DATE |  |  |
|  |  |  |

**LOAD TEST REPORT**

Oil pressure:

Water temp C:

Hour meter star:

Hour meter stop:

DC Volt meter:

Ammeter:

RPM/HZ:

Voltage Regulator Stability - HIGH LOW

Voltage Regulator Droop – HIGH LOW

|  |  |
| --- | --- |
| Plant number |  |
| Hours |  |
| Time |  |
| Date |  |
| Print name |  |
| Sign name |  |

**Comments:**